## Réponses
Site Code | Site Name | Cluster | Technicien | Date soumission | [Site Identification] IHS Site ID | [Site Identification] Site Name | [Site Identification] Site ID / Reference | [Site Identification] Region / State | [Site Identification] SBC / Vendor | [Site Identification] Audit Date | [Site Identification] Auditor Name(s) | [Site Identification] Number of Tenants | [Site Identification] Photo — Site identification plaque/panneau | [Generator – Main Data] Generator 1 – Type | [Generator – Main Data] Generator 1 – Brand / Make | [Generator – Main Data] Generator 1 – Capacity | [Generator – Main Data] Generator 1 – Rated Power Factor | [Generator – Main Data] Generator 1 – Running Hours | [Generator – Main Data] Generator 1 – Condition | [Generator – Main Data] Generator 1 – Current Load | [Generator – Main Data] Generator 1 – Measured/Estimated Load | [Generator – Main Data] Generator 2 – Type | [Generator – Main Data] Generator 2 – Brand / Make | [Generator – Main Data] Generator 2 – Capacity | [Generator – Main Data] Generator 2 – Rated Power Factor | [Generator – Main Data] Generator 2 – Running Hours | [Generator – Main Data] Generator 2 – Condition | [Generator – Main Data] Photo — Plaque signalétique DG 1 | [Site Load Calculation] Measured Site Load | [Site Load Calculation] Generator Rated Capacity | [Site Load Calculation] Generator Power Factor Used | [Site Load Calculation] Generator Rated Power | [Site Load Calculation] Generator Utilization / Loading | [Site Load Calculation] Site Load Source | [Site Load Calculation] Site Categorization | [Site Load Calculation] Load Comments | [Site Load Calculation] Photo — Compteur de charge site (kW) | [Rectifier / DC Power] Rectifier Brand / Make | [Rectifier / DC Power] Module Rating | [Rectifier / DC Power] Number of Slots Available | [Rectifier / DC Power] Number of Slots Used | [Rectifier / DC Power] Rectifier Rated Capacity | [Rectifier / DC Power] Rectifier Used Power | [Rectifier / DC Power] Extra DC-DC / AC-DC Slot Available | [Rectifier / DC Power] Upgrade Recommendation | [Rectifier / DC Power] Photo — Rectifier et modules (face avant) (Avant) | [Rectifier / DC Power] Photo — Rectifier et modules (face avant) (Après) | [Battery] Battery Type | [Battery] Battery Brand / Make | [Battery] Number of Battery Blocks | [Battery] Capacity per Block | [Battery] Total Installed Capacity | [Battery] Battery Autonomy | [Battery] Charging Coefficient | [Battery] Battery Condition | [Battery] Upgrade Recommendation | [Battery] Photo — Batteries de secours (string) | [Solar] PV Available | [Solar] PV Brand / Make | [Solar] PV Quantity | [Solar] PV Module Capacity | [Solar] Total Installed PV Capacity | [Solar] Solar Charger Brand / Make | [Solar] Solar Charger Current | [Solar] Solar Charger Voltage | [Solar] Solar Panel Condition | [Solar] Recommended PV Size | [Solar] Recommended Battery Addition | [Solar] Solar Feasibility Rating | [Solar] Solar Comments | [Solar] Photo — Installation solaire (panneaux + onduleur) | [Functional Checks & Photos] Mains–DG–Battery Changeover | [Functional Checks & Photos] Alarm Reporting to NOC | [Functional Checks & Photos] Earthing / Lightning Protection | [Functional Checks & Photos] DC / AC Distribution Board | [Functional Checks & Photos] Overall Power Chain | [Functional Checks & Photos] Before/After Photos Captured | [Functional Checks & Photos] Open Follow-Up Item | [Functional Checks & Photos] Follow-Up Comments | [Functional Checks & Photos] Photo — ATS / Automatic Transfer Switch
Code du site | Address,Village, Region |  | alex kadje | 2026-08-27T16:24:35.566Z | [41 empty] | Voir photo | Voir photo
Code du site | Address,Village, Region |  | alex kadje | 2026-08-27T16:22:56.697Z | [41 empty] | Voir photo | Voir photo

## Photos
Site Code | Section | Question | Slot | Lien photo | Date/heure capture | Latitude | Longitude
Code du site | Rectifier / DC Power | Photo — Rectifier et modules (face avant) | Avant | Voir photo
Code du site | Rectifier / DC Power | Photo — Rectifier et modules (face avant) | Après | Voir photo
Code du site | Rectifier / DC Power | Photo — Rectifier et modules (face avant) | — | Voir photo
Code du site | Rectifier / DC Power | Photo — Rectifier et modules (face avant) | Avant | Voir photo
Code du site | Rectifier / DC Power | Photo — Rectifier et modules (face avant) | Après | Voir photo
Code du site | Rectifier / DC Power | Photo — Rectifier et modules (face avant) | — | Voir photo